## in
FileType | Version | Date | Time | ChartField | TimeSource | Recorder | Scale | Units | ChartSubType | BaseScaling
LDP | 1 | 10/12/2021 | 08:40:14 | Record | Internal | 2 | Unity | Primary | Unknown | Primary
RecNum | Date | Time | Phase | Status
-1 | 1 | 2 | -1 | 3
VA_3SEC | "VB_3SEC" | "VC_3SEC" | "IA_3SEC" | "IB_3SEC" | "IC_3SEC" | "IN_3SEC" | "V_IMB_3SEC" | "THDVA_3SEC" | "THDVB_3SEC" | "THDVC_3SEC" | "THDIA_3SEC" | "THDIB_3SEC" | "THDIC_3SEC" | "THDIN_3SEC"
4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
DeviceID | FID | TID | Form | CTR | CTRN | PTR | LDAR
FEEDER 1 | "SEL-735-R205-V2-Z102100-D20210305" | "STATION A" | 9 | 1 | 1 | 1 | 3
ChannelName | ChannelFunction | ChannelUnits | ChannelRule | ChannelMult | ChannelRollover | ChannelScale
VA_3SEC | EOI | "V" | "PTR" | 1 | 999999999 | 1
VB_3SEC | EOI | "V" | "PTR" | 1 | 999999999 | 1
VC_3SEC | EOI | "V" | "PTR" | 1 | 999999999 | 1
IA_3SEC | EOI | "A" | "CTR" | 1 | 999999999 | 1
IB_3SEC | EOI | "A" | "CTR" | 1 | 999999999 | 1
IC_3SEC | EOI | "A" | "CTR" | 1 | 999999999 | 1
IN_3SEC | EOI | "A" | "CTRN" | 1 | 999999999 | 1
V_IMB_3SEC | EOI | "%" | "1" | 1 | 999999999 | 1
THDVA_3SEC | EOI | "%" | "1" | 1 | 999999999 | 1
THDVB_3SEC | EOI | "%" | "1" | 1 | 999999999 | 1
THDVC_3SEC | EOI | "%" | "1" | 1 | 999999999 | 1
THDIA_3SEC | EOI | "%" | "1" | 1 | 999999999 | 1
THDIB_3SEC | EOI | "%" | "1" | 1 | 999999999 | 1
THDIC_3SEC | EOI | "%" | "1" | 1 | 999999999 | 1
THDIN_3SEC | EOI | "%" | "1" | 1 | 999999999 | 1
EventDate | EventTime | EventCode | EventDescription
2021-04-20 | 23:20:51.817 | X0002 | "Power loss"
2021-04-28 | 09:58:44.079 | X0001 | "Power restored"
2021-04-28 | 10:00:21.971 | X2048 | "SALARM | Assert"
2021-04-28 | 10:00:22.971 | X1048 | "SALARM | Deassert"
2021-04-28 | 10:00:26.346 | X2034 | "TEST | Assert"
2021-04-28 | 10:00:50.446 | X1034 | "TEST | Deassert"
2021-04-28 | 10:04:51.129 | X0002 | "Power loss"
2021-05-17 | 15:51:38.430 | X0001 | "Power restored"
2021-05-18 | 07:09:18.076 | X0002 | "Power loss"
2021-05-18 | 07:13:04.126 | X0001 | "Power restored"
2021-05-18 | 07:24:25.201 | X2032 | "SSI_EVE | Assert"
2021-05-18 | 07:26:16.842 | X2048 | "SALARM | Assert"
2021-05-18 | 07:26:17.842 | X1048 | "SALARM | Deassert"
2021-05-18 | 07:26:34.034 | X0000 | "Device settings changed"
2021-05-18 | 07:26:34.467 | X2048 | "SALARM | Assert"
2021-05-18 | 07:26:35.467 | X1048 | "SALARM | Deassert"
2021-05-18 | 07:28:34.667 | X0000 | "Device settings changed"
2021-05-18 | 07:28:35.092 | X2048 | "SALARM | Assert"
2021-05-18 | 07:28:36.092 | X1048 | "SALARM | Deassert"
2021-05-18 | 09:09:33.037 | X2048 | "SALARM | Assert"
2021-05-18 | 09:09:34.037 | X1048 | "SALARM | Deassert"
2021-05-18 | 09:26:57.803 | X2048 | "SALARM | Assert"
2021-05-18 | 09:26:58.803 | X1048 | "SALARM | Deassert"
2021-05-18 | 10:48:09.203 | X0002 | "Power loss"
2021-06-14 | 11:50:28.504 | X0001 | "Power restored"
2021-06-14 | 11:53:57.154 | X0002 | "Power loss"
2021-08-31 | 06:21:22.452 | X0001 | "Power restored"
2021-08-31 | 07:10:33.910 | X2048 | "SALARM | Assert"
2021-08-31 | 07:10:34.910 | X1048 | "SALARM | Deassert"
2021-08-31 | 07:23:40.093 | X0002 | "Power loss"
2021-09-02 | 06:56:46.817 | X0001 | "Power restored"
2021-09-02 | 07:06:36.617 | X2048 | "SALARM | Assert"
2021-09-02 | 07:06:37.617 | X1048 | "SALARM | Deassert"
2021-09-02 | 07:17:17.417 | X2048 | "SALARM | Assert"
2021-09-02 | 07:17:18.417 | X1048 | "SALARM | Deassert"
2021-09-02 | 07:21:54.067 | X0002 | "Power loss"
2021-09-07 | 06:23:44.336 | X0001 | "Power restored"
2021-09-07 | 06:40:05.519 | X2048 | "SALARM | Assert"
2021-09-07 | 06:40:06.519 | X1048 | "SALARM | Deassert"
2021-09-07 | 06:40:08.469 | X2034 | "TEST | Assert"
2021-09-07 | 06:40:36.194 | X1034 | "TEST | Deassert"
2021-09-07 | 07:04:26.994 | X2048 | "SALARM | Assert"
2021-09-07 | 07:04:27.994 | X1048 | "SALARM | Deassert"
2021-09-07 | 07:04:33.919 | X0000 | "Device settings changed"
2021-09-07 | 07:04:34.303 | X2048 | "SALARM | Assert"
2021-09-07 | 07:04:35.303 | X1048 | "SALARM | Deassert"
2021-09-07 | 07:04:43.386 | X0000 | "Device settings changed"
2021-09-07 | 07:04:43.386 | X2048 | "SALARM | Assert"
2021-09-07 | 07:04:44.386 | X1048 | "SALARM | Deassert"
2021-09-07 | 07:18:24.186 | X0002 | "Power loss"
2021-09-09 | 06:41:06.826 | X0001 | "Power restored"
2021-09-09 | 06:49:55.351 | X2048 | "SALARM | Assert"
2021-09-09 | 06:49:56.351 | X1048 | "SALARM | Deassert"
2021-09-09 | 06:52:27.568 | X0000 | "Device settings changed"
2021-09-09 | 06:52:27.910 | X2048 | "SALARM | Assert"
2021-09-09 | 06:52:28.910 | X1048 | "SALARM | Deassert"
2021-09-09 | 08:54:00.008 | X0003 | "Time change (manual set occurred)"
2021-09-09 | 09:20:06.200 | X0002 | "Power loss"
2021-09-14 | 08:14:56.734 | X0001 | "Power restored"
2021-09-14 | 09:16:40.175 | X0002 | "Power loss"
2021-09-16 | 08:42:30.821 | X0001 | "Power restored"
2021-09-16 | 08:50:48.388 | X2048 | "SALARM | Assert"
2021-09-16 | 08:50:49.388 | X1048 | "SALARM | Deassert"
2021-09-16 | 08:50:54.705 | X0000 | "Device settings changed"
2021-09-16 | 08:50:55.013 | X2048 | "SALARM | Assert"
2021-09-16 | 08:50:56.013 | X1048 | "SALARM | Deassert"
2021-09-16 | 08:51:02.955 | X0000 | "Device settings changed"
2021-09-16 | 08:51:04.338 | X2048 | "SALARM | Assert"
2021-09-16 | 08:51:05.338 | X1048 | "SALARM | Deassert"
2021-09-16 | 09:19:24.080 | X0002 | "Power loss"
2021-09-21 | 08:20:14.576 | X0001 | "Power restored"
2021-09-21 | 09:07:03.260 | X0002 | "Power loss"
2021-09-23 | 08:05:23.974 | X0001 | "Power restored"
2021-09-23 | 08:44:15.223 | X0002 | "Power loss"
2021-09-23 | 08:44:29.952 | X0001 | "Power restored"
2021-09-23 | 09:17:17.411 | X2048 | "SALARM | Assert"
2021-09-23 | 09:17:18.411 | X1048 | "SALARM | Deassert"
2021-09-23 | 09:19:36.211 | X0002 | "Power loss"
2021-09-28 | 08:08:36.512 | X0001 | "Power restored"
2021-09-28 | 09:07:45.161 | X0002 | "Power loss"
2021-09-30 | 08:01:17.421 | X0001 | "Power restored"
2021-09-30 | 08:51:33.280 | X2048 | "SALARM | Assert"
2021-09-30 | 08:51:34.280 | X1048 | "SALARM | Deassert"
2021-09-30 | 09:14:12.071 | X0002 | "Power loss"
2021-10-05 | 08:04:47.217 | X0001 | "Power restored"
2021-10-05 | 09:17:21.490 | X2048 | "SALARM | Assert"
2021-10-05 | 09:17:22.490 | X1048 | "SALARM | Deassert"
2021-10-05 | 09:17:27.582 | X0000 | "Device settings changed"
2021-10-05 | 09:17:27.982 | X2048 | "SALARM | Assert"
2021-10-05 | 09:17:28.982 | X1048 | "SALARM | Deassert"
2021-10-05 | 09:17:35.365 | X0000 | "Device settings changed"
2021-10-05 | 09:17:40.416 | X2048 | "SALARM | Assert"
2021-10-05 | 09:17:41.416 | X1048 | "SALARM | Deassert"
2021-10-05 | 10:32:24.065 | X0002 | "Power loss"
2021-10-07 | 07:55:03.179 | X0001 | "Power restored"
2021-10-07 | 09:18:02.712 | X2048 | "SALARM | Assert"
2021-10-07 | 09:18:03.712 | X1048 | "SALARM | Deassert"
2021-10-07 | 09:18:09.871 | X0000 | "Device settings changed"
2021-10-07 | 09:18:10.179 | X2048 | "SALARM | Assert"
2021-10-07 | 09:18:11.179 | X1048 | "SALARM | Deassert"
2021-10-07 | 09:21:18.229 | X0002 | "Power loss"
2021-10-08 | 09:10:28.860 | X0001 | "Power restored"
2021-10-08 | 10:29:12.126 | X0002 | "Power loss"
2021-10-12 | 08:01:23.657 | X0001 | "Power restored"
Record | Date | Time | Status | "VA_3SEC" | "VB_3SEC" | "VC_3SEC" | "IA_3SEC" | "IB_3SEC" | "IC_3SEC" | "IN_3SEC" | "V_IMB_3SEC" | "THDVA_3SEC" | "THDVB_3SEC" | "THDVC_3SEC" | "THDIA_3SEC" | "THDIB_3SEC" | "THDIC_3SEC" | "THDIN_3SEC"
62 | 10/12/2021 | 08:37:09 | "..." | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 | 10/12/2021 | 08:37:12 | "..." | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60 | 10/12/2021 | 08:37:15 | "..." | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
59 | 10/12/2021 | 08:37:18 | "..." | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
58 | 10/12/2021 | 08:37:21 | "..." | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
57 | 10/12/2021 | 08:37:24 | "..." | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
56 | 10/12/2021 | 08:37:27 | "..." | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
55 | 10/12/2021 | 08:37:30 | "..." | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | 10/12/2021 | 08:37:33 | "..." | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | 10/12/2021 | 08:37:36 | "..." | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
52 | 10/12/2021 | 08:37:39 | "..." | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | 10/12/2021 | 08:37:42 | "..." | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50 | 10/12/2021 | 08:37:45 | "..." | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
49 | 10/12/2021 | 08:37:48 | "..." | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | 10/12/2021 | 08:37:51 | "..." | 9.9253 | 9.9326 | 9.9242 | 0 | 0 | 0 | 0 | 0 | 1.9526 | 1.9607 | 1.9688 | 0 | 0 | 0 | 0
47 | 10/12/2021 | 08:37:54 | "..." | 24.9931 | 25.0116 | 24.9904 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
46 | 10/12/2021 | 08:37:57 | "..." | 24.9929 | 25.0115 | 24.9903 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | 10/12/2021 | 08:38:00 | "..." | 20.5431 | 20.5583 | 20.541 | 0 | 0 | 0 | 0 | 0 | 5.3576 | 5.4302 | 5.3576 | 0 | 0 | 0 | 0
44 | 10/12/2021 | 08:38:03 | "..." | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | 10/12/2021 | 08:38:06 | "..." | 28.4755 | 28.4901 | 28.4704 | 0 | 0 | 0 | 0 | 0 | 0.82301 | 0.81494 | 0.82301 | 0 | 0 | 0 | 0
42 | 10/12/2021 | 08:38:09 | "..." | 49.9969 | 50.0227 | 49.9881 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
41 | 10/12/2021 | 08:38:12 | "..." | 49.9971 | 50.0226 | 49.9881 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
40 | 10/12/2021 | 08:38:15 | "..." | 35.6679 | 35.6862 | 35.6615 | 0 | 0 | 0 | 0 | 0 | 1.1296 | 1.1216 | 1.1216 | 0 | 0 | 0 | 0
39 | 10/12/2021 | 08:38:18 | "..." | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
38 | 10/12/2021 | 08:38:21 | "..." | 52.5512 | 52.5799 | 52.544 | 0 | 0 | 0 | 0 | 0 | 1.9688 | 1.9607 | 1.9688 | 0 | 0 | 0 | 0
37 | 10/12/2021 | 08:38:24 | "..." | 74.9932 | 75.0338 | 74.9829 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | 10/12/2021 | 08:38:27 | "..." | 74.9933 | 75.0337 | 74.9829 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35 | 10/12/2021 | 08:38:30 | "..." | 43.8738 | 43.8975 | 43.8677 | 0 | 0 | 0 | 0 | 0 | 5.398 | 5.3899 | 5.3818 | 0 | 0 | 0 | 0
34 | 10/12/2021 | 08:38:33 | "..." | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 | 10/12/2021 | 08:38:36 | "..." | 81.0947 | 81.1342 | 81.0806 | 0 | 0 | 0 | 0 | 0 | 0.81494 | 0.80687 | 0.81494 | 0 | 0 | 0 | 0
32 | 10/12/2021 | 08:38:39 | "..." | 99.9936 | 100.0425 | 99.9764 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 10/12/2021 | 08:38:42 | "..." | 99.9941 | 100.0427 | 99.977 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 10/12/2021 | 08:38:45 | "..." | 41.9018 | 41.9221 | 41.8944 | 0 | 0 | 0 | 0 | 0 | 1.1135 | 1.1135 | 1.1216 | 0 | 0 | 0 | 0
29 | 10/12/2021 | 08:38:48 | "..." | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 10/12/2021 | 08:38:51 | "..." | 113.4825 | 113.5411 | 113.4667 | 0 | 0 | 0 | 0 | 0 | 1.9446 | 1.9526 | 1.9446 | 0 | 0 | 0 | 0
27 | 10/12/2021 | 08:38:54 | "..." | 124.987 | 125.0513 | 124.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 10/12/2021 | 08:38:57 | "..." | 124.9873 | 125.0519 | 124.9706 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 10/12/2021 | 08:39:00 | "..." | 11.8075 | 11.8134 | 11.8054 | 0 | 0 | 0 | 0 | 0 | 5.3576 | 5.3576 | 5.3415 | 0 | 0 | 0 | 0
24 | 10/12/2021 | 08:39:03 | "..." | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 10/12/2021 | 08:39:06 | "..." | 149.3136 | 149.3904 | 149.2956 | 0 | 0 | 0 | 0 | 0 | 0.80687 | 0.80687 | 0.80687 | 0 | 0 | 0 | 0
22 | 10/12/2021 | 08:39:09 | "..." | 149.9864 | 150.0636 | 149.9686 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 10/12/2021 | 08:39:12 | "..." | 137.65 | 137.7209 | 137.634 | 0 | 0 | 0 | 0 | 0 | 1.1135 | 1.1216 | 1.1216 | 0 | 0 | 0 | 0
20 | 10/12/2021 | 08:39:15 | "..." | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 10/12/2021 | 08:39:18 | "..." | 69.4968 | 69.5322 | 69.4876 | 0 | 0 | 0 | 0 | 0 | 1.9365 | 1.9446 | 1.9446 | 0 | 0 | 0 | 0
18 | 10/12/2021 | 08:39:21 | "..." | 174.9878 | 175.0762 | 174.9649 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 10/12/2021 | 08:39:24 | "..." | 174.9899 | 175.0781 | 174.9673 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 10/12/2021 | 08:39:27 | "..." | 143.832 | 143.9045 | 143.8137 | 0 | 0 | 0 | 0 | 0 | 5.3576 | 5.3496 | 5.3576 | 0 | 0 | 0 | 0
15 | 10/12/2021 | 08:39:30 | "..." | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 10/12/2021 | 08:39:33 | "..." | 113.9042 | 113.9624 | 113.8904 | 0 | 0 | 0 | 0 | 0 | 0.7988 | 0.80687 | 0.80687 | 0 | 0 | 0 | 0
13 | 10/12/2021 | 08:39:36 | "..." | 199.9884 | 200.0903 | 199.965 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 10/12/2021 | 08:39:39 | "..." | 199.991 | 200.093 | 199.9681 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 10/12/2021 | 08:39:42 | "..." | 142.6708 | 142.7434 | 142.655 | 0 | 0 | 0 | 0 | 0 | 1.1216 | 1.1216 | 1.1216 | 0 | 0 | 0 | 0
10 | 10/12/2021 | 08:39:45 | "..." | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 10/12/2021 | 08:39:48 | "..." | 157.6646 | 157.7443 | 157.6479 | 0 | 0 | 0 | 0 | 0 | 1.9365 | 1.9446 | 1.9365 | 0 | 0 | 0 | 0
8 | 10/12/2021 | 08:39:51 | "..." | 224.9944 | 225.1073 | 224.9715 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 10/12/2021 | 08:39:54 | "..." | 224.9982 | 225.1111 | 224.9763 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 10/12/2021 | 08:39:57 | "..." | 131.629 | 131.6948 | 131.6161 | 0 | 0 | 0 | 0 | 0 | 5.3415 | 5.3334 | 5.3496 | 0 | 0 | 0 | 0
5 | 10/12/2021 | 08:40:00 | "..." | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 10/12/2021 | 08:40:03 | "..." | 202.7439 | 202.8487 | 202.725 | 0 | 0 | 0 | 0 | 0 | 0.80687 | 0.80687 | 0.80687 | 0 | 0 | 0 | 0
3 | 10/12/2021 | 08:40:06 | "..." | 249.996 | 250.1241 | 249.9742 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 10/12/2021 | 08:40:09 | "..." | 250.0007 | 250.1284 | 249.9796 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 10/12/2021 | 08:40:12 | "..." | 104.755 | 104.8085 | 104.7463 | 0 | 0 | 0 | 0 | 0 | 1.1216 | 1.1216 | 1.1216 | 0 | 0 | 0 | 0