## ManualSection
Date Cailbrated:
Date Due:
Technician:
|  |  |  | Temperature: |  |  | Humidity:
Instrument: |  |  |  | Procedure: |  |  | Rev:
Model Number: |  |  |  | Condition:
Manufacturer: |  |  |  | Received:
Serial Number: |  |  |  | Returned:
UUT Stated Accuracy:
Volts Output ± 0.3% range,
Amps ± 0.3% range,
Phase angle ± 0.25°,
Timer Test : Short Expected: 5ms, Long Expected: 10ms.
Equipment Used |  | Serial Number |  |  | Date Cal | Date Due |  | Accuracy/Comments
| Level | Pass/Fail | [5 empty] | Result
Logic Input | 1 | [6 empty] | FAIL |  | FALSE
| 2 | [6 empty] | FAIL |  | FALSE
| 3 | [6 empty] | FAIL |  | FALSE
| 4 | [6 empty] | FAIL |  | FALSE
| 5 | [6 empty] | FAIL |  | FALSE
| 6 | [6 empty] | FAIL |  | FALSE
| 7 | [6 empty] | FAIL |  | FALSE
| 8 | [6 empty] | FAIL |  | FALSE
Logic Output | 1 | [6 empty] | FAIL |  | FALSE
| 2 | [6 empty] | FAIL |  | FALSE
| 3 | [6 empty] | FAIL |  | FALSE
| 4 | [6 empty] | FAIL |  | FALSE
| 5 | [6 empty] | FAIL |  | FALSE
| 6 | [6 empty] | FAIL |  | FALSE
| 7 | [6 empty] | FAIL |  | FALSE
| 8 | [6 empty] | FAIL |  | FALSE
Frequency | V1 | [6 empty] | FAIL |  | FALSE
| V2 | [6 empty] | FAIL |  | FALSE
| V3 | [6 empty] | FAIL |  | FALSE
| I1 | [6 empty] | FAIL |  | FALSE
| I2 | [6 empty] | FAIL |  | FALSE
| I3 | [6 empty] | FAIL |  | FALSE
Battery Simulator | 24V | [6 empty] | FAIL |  | FALSE
| 48V | [6 empty] | FAIL |  | FALSE
| 125V | [6 empty] | FAIL |  | FALSE
| 250V | [6 empty] | FAIL |  | FALSE
Timer Test
Level | Direct Connection |  | Short Delay |  | Long Delay | Short Actual |  | Long Actual | Result
1 | [5 empty] | 0 |  | 0 | FAIL
2 | [5 empty] | 0 |  | 0 | FAIL
3 | [5 empty] | 0 |  | 0 | FAIL
4 | [5 empty] | 0 |  | 0 | FAIL
5 | [5 empty] | 0 |  | 0 | FAIL
6 | [5 empty] | 0 |  | 0 | FAIL
7 | [5 empty] | 0 |  | 0 | FAIL
8 | [5 empty] | 0 |  | 0 | FAIL

## AutoSection
Item | Level | Min | Max | UUT | Result
V1 | 25 | 24.925 | 25.075 |  | FAIL
| 50 | 49.85 | 50.15 |  | FAIL
| 75 | 74.775 | 75.225 |  | FAIL
| 100 | 99.7 | 100.3 |  | FAIL
| 125 | 124.625 | 125.375 |  | FAIL
| 150 | 149.55 | 150.45 |  | FAIL
V2 | 25 | 24.925 | 25.075 |  | FAIL
| 50 | 49.85 | 50.15 |  | FAIL
| 75 | 74.775 | 75.225 |  | FAIL
| 100 | 99.7 | 100.3 |  | FAIL
| 125 | 124.625 | 125.375 |  | FAIL
| 150 | 149.55 | 150.45 |  | FAIL
V3 | 25 | 24.925 | 25.075 |  | FAIL
| 50 | 49.85 | 50.15 |  | FAIL
| 75 | 74.775 | 75.225 |  | FAIL
| 100 | 99.7 | 100.3 |  | FAIL
| 125 | 124.625 | 125.375 |  | FAIL
| 150 | 149.55 | 150.45 |  | FAIL
V4 | 25 | 24.925 | 25.075 |  | FAIL
| 50 | 49.85 | 50.15 |  | FAIL
| 75 | 74.775 | 75.225 |  | FAIL
| 100 | 99.7 | 100.3 |  | FAIL
| 125 | 124.625 | 125.375 |  | FAIL
| 150 | 149.55 | 150.45 |  | FAIL
V5 | 25 | 24.925 | 25.075 |  | FAIL
| 50 | 49.85 | 50.15 |  | FAIL
| 75 | 74.775 | 75.225 |  | FAIL
| 100 | 99.7 | 100.3 |  | FAIL
| 125 | 124.625 | 125.375 |  | FAIL
| 150 | 149.55 | 150.45 |  | FAIL
V6 | 25 | 24.925 | 25.075 |  | FAIL
| 50 | 49.85 | 50.15 |  | FAIL
| 75 | 74.775 | 75.225 |  | FAIL
| 100 | 99.7 | 100.3 |  | FAIL
| 125 | 124.625 | 125.375 |  | FAIL
| 150 | 149.55 | 150.45 |  | FAIL
I1 | 1 | 0.997 | 1.003 |  | FAIL
| 2 | 1.994 | 2.006 |  | FAIL
| 3 | 2.991 | 3.009 |  | FAIL
| 4 | 3.988 | 4.012 |  | FAIL
| 5 | 4.985 | 5.015 |  | FAIL
| 6 | 5.982 | 6.018 |  | FAIL
I2 | 1 | 0.997 | 1.003 |  | FAIL
| 2 | 1.994 | 2.006 |  | FAIL
| 3 | 2.991 | 3.009 |  | FAIL
| 4 | 3.988 | 4.012 |  | FAIL
| 5 | 4.985 | 5.015 |  | FAIL
| 6 | 5.982 | 6.018 |  | FAIL
I3 | 1 | 0.997 | 1.003 |  | FAIL
| 2 | 1.994 | 2.006 |  | FAIL
| 3 | 2.991 | 3.009 |  | FAIL
| 4 | 3.988 | 4.012 |  | FAIL
| 5 | 4.985 | 5.015 |  | FAIL
| 6 | 5.982 | 6.018 |  | FAIL
I4 | 1 | 0.997 | 1.003 |  | FAIL
| 2 | 1.994 | 2.006 |  | FAIL
| 3 | 2.991 | 3.009 |  | FAIL
| 4 | 3.988 | 4.012 |  | FAIL
| 5 | 4.985 | 5.015 |  | FAIL
| 6 | 5.982 | 6.018 |  | FAIL
I5 | 1 | 0.997 | 1.003 |  | FAIL
| 2 | 1.994 | 2.006 |  | FAIL
| 3 | 2.991 | 3.009 |  | FAIL
| 4 | 3.988 | 4.012 |  | FAIL
| 5 | 4.985 | 5.015 |  | FAIL
| 6 | 5.982 | 6.018 |  | FAIL
I6 | 1 | 0.997 | 1.003 |  | FAIL
| 2 | 1.994 | 2.006 |  | FAIL
| 3 | 2.991 | 3.009 |  | FAIL
| 4 | 3.988 | 4.012 |  | FAIL
| 5 | 4.985 | 5.015 |  | FAIL
| 6 | 5.982 | 6.018 |  | FAIL
Phase(V1) | 60 | 59.7302 | 60.2698 |  | FAIL
| 120 | 119.7302 | 120.2698 |  | FAIL
| 180 | 177.7651 | 182.2349 |  | FAIL
Phase(V2) | 60 | 59.7302 | 60.2698 |  | FAIL
| 120 | 119.7302 | 120.2698 |  | FAIL
| 180 | 177.7651 | 182.2349 |  | FAIL
Phase(V3) | 60 | 59.7302 | 60.2698 |  | FAIL
| 120 | 119.7302 | 120.2698 |  | FAIL
| 180 | 177.7651 | 182.2349 |  | FAIL
Phase(V4) | 60 | 59.7302 | 60.2698 |  | FAIL
| 120 | 119.7302 | 120.2698 |  | FAIL
| 180 | 177.7651 | 182.2349 |  | FAIL
Phase(V5) | 60 | 59.7302 | 60.2698 |  | FAIL
| 120 | 119.7302 | 120.2698 |  | FAIL
| 180 | 177.7651 | 182.2349 |  | FAIL
Phase(V6) | 60 | 59.7302 | 60.2698 |  | FAIL
| 120 | 119.7302 | 120.2698 |  | FAIL
| 180 | 177.7651 | 182.2349 |  | FAIL
Phase(I1) | 60 | 59.7302 | 60.2698 |  | FAIL
| 120 | 119.7302 | 120.2698 |  | FAIL
| 180 | 177.7651 | 182.2349 |  | FAIL
Phase(I2) | 60 | 59.7302 | 60.2698 |  | FAIL
| 120 | 119.7302 | 120.2698 |  | FAIL
| 180 | 177.7651 | 182.2349 |  | FAIL
Phase(I3) | 60 | 59.7302 | 60.2698 |  | FAIL
| 120 | 119.7302 | 120.2698 |  | FAIL
| 180 | 177.7651 | 182.2349 |  | FAIL
Phase(I4) | 60 | 59.7302 | 60.2698 |  | FAIL
| 120 | 119.7302 | 120.2698 |  | FAIL
| 180 | 177.7651 | 182.2349 |  | FAIL
Phase(I5) | 60 | 59.7302 | 60.2698 |  | FAIL
| 120 | 119.7302 | 120.2698 |  | FAIL
| 180 | 177.7651 | 182.2349 |  | FAIL
Phase(I6) | 60 | 59.7302 | 60.2698 |  | FAIL
| 120 | 119.7302 | 120.2698 |  | FAIL
| 180 | 177.7651 | 182.2349 |  | FAIL
VH1 | 50 | 49.85 | 50.15 |  | FAIL
| 100 | 99.7 | 100.3 |  | FAIL
| 150 | 149.55 | 150.45 |  | FAIL
| 200 | 199.4 | 200.6 |  | FAIL
| 250 | 249.25 | 250.75 |  | FAIL
| 300 | 299 | 301 |  | FAIL
VH2 | 50 | 49.85 | 50.15 |  | FAIL
| 100 | 99.7 | 100.3 |  | FAIL
| 150 | 149.55 | 150.45 |  | FAIL
| 200 | 199.4 | 200.6 |  | FAIL
| 250 | 249.25 | 250.75 |  | FAIL
| 300 | 299 | 301 |  | FAIL
VH3 | 50 | 49.85 | 50.15 |  | FAIL
| 100 | 99.7 | 100.3 |  | FAIL
| 150 | 149.55 | 150.45 |  | FAIL
| 200 | 199.4 | 200.6 |  | FAIL
| 250 | 249.25 | 250.75 |  | FAIL
| 300 | 299 | 301 |  | FAIL
IH1 | 1 | 0.997 | 1.003 |  | FAIL
| 2 | 1.994 | 2.006 |  | FAIL
| 3 | 2.991 | 3.009 |  | FAIL
| 4 | 3.988 | 4.012 |  | FAIL
| 5 | 4.985 | 5.015 |  | FAIL
| 6 | 5.982 | 6.018 |  | FAIL
IH2 | 1 | 0.997 | 1.003 |  | FAIL
| 2 | 1.994 | 2.006 |  | FAIL
| 3 | 2.991 | 3.009 |  | FAIL
| 4 | 3.988 | 4.012 |  | FAIL
| 5 | 4.985 | 5.015 |  | FAIL
| 6 | 5.982 | 6.018 |  | FAIL
IH3 | 1 | 0.997 | 1.003 |  | FAIL
| 2 | 1.994 | 2.006 |  | FAIL
| 3 | 2.991 | 3.009 |  | FAIL
| 4 | 3.988 | 4.012 |  | FAIL
| 5 | 4.985 | 5.015 |  | FAIL
| 6 | 5.982 | 6.018 |  | FAIL
Phase(VH1) | 60 | 59.7302 | 60.2698 |  | FAIL
| 120 | 119.7302 | 120.2698 |  | FAIL
| 180 | 177.7651 | 182.2349 |  | FAIL
Phase(VH2) | 60 | 59.7302 | 60.2698 |  | FAIL
| 120 | 119.7302 | 120.2698 |  | FAIL
| 180 | 177.7651 | 182.2349 |  | FAIL
Phase(VH3) | 60 | 59.7302 | 60.2698 |  | FAIL
| 120 | 119.7302 | 120.2698 |  | FAIL
| 180 | 177.7651 | 182.2349 |  | FAIL
Phase(IH1) | 60 | 59.7302 | 60.2698 |  | FAIL
| 120 | 119.7302 | 120.2698 |  | FAIL
| 180 | 177.7651 | 182.2349 |  | FAIL
Phase(IH2) | 60 | 59.7302 | 60.2698 |  | FAIL
| 120 | 119.7302 | 120.2698 |  | FAIL
| 180 | 177.7651 | 182.2349 |  | FAIL
Phase(IH3) | 60 | 59.7302 | 60.2698 |  | FAIL
| 120 | 119.7302 | 120.2698 |  | FAIL
| 180 | 177.7651 | 182.2349 |  | FAIL